## Proposed CPF Incentives Simple
Energy Friendly Homes Program - 2026 Energy Trust Incentives |  | Instructions: Please fill in measure quantities, confirm measure eligibility, and include notes in highlighted fields. *Installer must be an Energy Trust Trade Ally, enrolled in the Energy Friendly Homes Contractor Network. All work must comply with Energy Friendly Homes Specifications and meet Energy Trust requirements in Measure Requirements tab. Eligible improvements and incentives subject to change.
Measure Name (Note Site Type Where Applicable) | Quantity | Incentive Amount Per Measure | Total Incentive Amount | Does this project meet Energy Trust installation requirements? | Notes:
HVAC & WATER HEATING | # of units
ETO Incentive: DHP-displacing elec. Zonal |  | 1800 | 0
ETO Incentive: DHP-displacing elec. Manufactured Homes |  | 3500 | 0
ETO Incentive: Ducted HP -displacing elec. Furnace |  | 4000 | 0
ETO Incentive: Extended capacity heat pump-displacing gas or oil furnaces |  | 2000 | 0
ETO Incentive: 95% AFUE or Greater Gas Furnace |  | 2900 | 0
ETO Incentive: Heat Pump Water Heater - displacing electric |  | 240 | 0
ETO Incentive: Smart Thermostat (gas heated home) |  | 250 | 0
WINDOWS (co-funded by PCEF) | sq. ft
ETO Incentive: Window - Replacing Single Pane/Metal Frame in elec heated home |  | 14.25 | 0
ETO Incentive: Window - Replacing Single Pane/Metal Frame in gas heated home |  | 13.25 | 0
INSULATION | sq. ft
ETO Incentive: Wall Insulation R-11 from < R-5 (elec & gas heated home) |  | 2.25 | 0
ETO Incentive: Floor Insulation R-30 or filled from < R-12 (elec heated home) |  | 1 | 0
ETO Incentive: Floor Insulation R-30 or filled from < R-12 ( gas heated home) |  | 3.5 | 0
ETO Incentive: Floor Insulation R-22 from < R-12 ( elec & gas heated manufactured home) |  | 1.25 | 0
ETO Incentive: Floor Insulation R-22 from < R-12 ( gas heated manufactured home) |  | 1.75 | 0
ETO Incentive: Attic Insulation R-38 from < R-12, or R-12 to R-18 |  | 2.25 | 0
ETO Incentive: Attic Insulation R-30 from < R-12 (elec & gas heated manufactured home ) | sq. ft | 1.7 |  |  | PCEF to determine whether XMH incentives are applicable
ETO Incentive: Attic Insulation R-30 from < R-12 (elec heated manufactured home) | sq. ft | 2.13 |  |  | PCEF to determine whether XMH incentives are applicable
ETO Incentive: Attic Insulation R-30 from < R-12 (gas heated manufactured home) | sq. ft | 1.74 |  |  | PCEF to determine whether XMH incentives are applicable
Total Incentive Amount |  |  | 0
Last Updated: 1-Apr-2026

## CPF Incentives Simple (hidden)
code | Measure Name (Note Site Type Where Applicable) | unit | Detached Single-Family & Manufactured Homes | Small Multifamily (SMF) (side-by-side properties, plexes up to 4, condos, townhomes) | Large Multifamily (LMF) (Greater than 4 units & stacked structures) | Notes | Marshall's notes
in general, are there guidelines we should consider around how to set incentive levels relative to the total allowable utility investment that can be made
HVAC & WATER HEATING
| ETO CPF Incentive: DHP-displacing elec. Zonal (Single-family, SMF, & LMF) | unit | 1800 | 2000 | 2000
| ETO CPF Incentive: DHP-displacing elec. Manufactured Homes | unit | 3500 | 0 | 0
| ETO CPF Incentive: Ducted HP -displacing elec. Furnace | unit | 4000 | 5000 | 0 |  | MAD maximum is $6707
| ETO CPF Incentive: Extended capacity heat pump-displacing elec.furnace | unit | 6000 | 6650 | 6650 |  | MAD maximum is $10,447 for electric furnace
| ETO CPF Incentive: Extended capacity heat pump-displacing gas | unit | 2000 | 2400 | 2400 |  | MAD maximum is $2403 for displacing gas
| ETO CPF Incentive: 95% AFUE or Greater Gas Furnace | unit | 2900 | 2900 | 0
| ETO CPF Incentive: Heat Pump Water Heater - displacing electric | unit | 240 | 240 | 240
| ETO CPF Incentive: Smart Thermostat | unit | 250 | 250 | 250
| ETO CPF Incentive: Heat Pump Controls | unit | 250 | 250 | 250
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.28 - 0.30 Double Pane Metal | sq. ft | 6.12 | 0 | 0 | Do we plan to keep the enhanced incentive as "variable" on the PI sheet? If so, i'd like to "bucket" these incentives by u-value level for MF properties in order to keep things streamlined for processing. However, I see value in aligning and keeping at the measure level max with Res.
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.23 - 0.27 Double Pane Metal | sq. ft | 6.92 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value less than .22 Double Pane Metal | sq. ft | 7.49 | 7.25 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.28 - 0.30 Double Pane Metal | sq. ft | 7.55 | 0 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.23 - 0.27 Double Pane Metal | sq. ft | 8.72 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value Less than .22 Double Pane Metal | sq. ft | 9.75 | 7.25 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.28 - 0.30 Single Pane Any Frame | sq. ft | 9.32 | 0 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.23 - 0.27 Single Pane Any Frame | sq. ft | 10.13 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value Less than .22 Single Pane Any Frame | sq. ft | 10.65 | 7.25 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.28 - 0.30 Single Pane Any Frame | sq. ft | 13.32 | 0 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.23 - 0.27 Single Pane Any Frame | sq. ft | 14.44 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value Less than Single Pane Any Frame | sq. ft | 15.42 | 7.25 | 0
WINDOWS
| Window - Electric Heated Double Pane Metal (U-Value <.22-.30) | sq. ft | 6 | 0 | 0
| Window - Gas Heated Double Pane Metal (U-Value <.22-.30) | sq. ft | 7.5 | 0 | 0
| Window Elec Heated Single Pane Any Frame (U-Value <.22-.30) | sq. ft | 9 | 0 | 0
| Window Gas Heated Single Pane Any Frame (U-Value <.22-.30) | sq. ft | 13 | 0 | 0
| Window Gas Heated Single Pane Any Frame (U-Value <.22-.27) - Small MF only | sq. ft | N/A | 6 | 0 | Note U-Value Difference. Windows up to .27 only in SMF
| Window-Electric Heated Double Pane Metal (U-Value <.22-.27) - Small Multifamily only | sq. ft | N/A | 6 | 0 | Note U-Value Difference. Windows up to .27 only in SMF
| Window - Gas Heated Double Pane Metal (U-Value <.22-.27) - Small MF only | sq. ft | N/A | 6 | 0 | Note U-Value Difference. Windows up to .27 only in SMF
| Window Elec Heated Single Pane Any Frame (U-Value <.22-.27) - Small MF only | sq. ft | N/A | 6 | 0 | Note U-Value Difference. Windows up to .27 only in SMF
INSULATION
| ETO CPF Incentive: Wall Insulation R-11 from < R-5 (elec & gas heated home) | sq. ft | 2.3 | 2.3 | 0
| ETO CPF Incentive: Wall Insulation R-11 from < R-5 (elec heated home) | sq. ft | 2.32 | 2.3 | 0
| ETO CPF Incentive: Wall Insulation R-11 from < R-5 (gas heated home) | sq. ft | 3.3 | 3.3 | 0
| ETO CPF Incentive: Floor Insulation R-30 or filled from < R-12 (elec heated home) | sq. ft | 1.09 | 1.09 | 0
| ETO CPF Incentive: Floor Insulation R-30 or filled from < R-12 ( gas heated home) | sq. ft | 3.65 | 3.65 | 0
| ETO CPF Incentive: Floor Insulation R-22 from < R-12 ( elec & gas heated manufactured home) | sq. ft | 1.45 | N/A | N/A
| ETO CPF Incentive: Floor Insulation R-22 from < R-12 ( gas heated manufactured home) | sq. ft | 1.76 | 0 | 0
| ETO CPF Incentive: Attic Insulation R-49 from < R-12, or R-12 to R-18 | sq. ft | 2.25 | 2.25 | 0
| ETO CPF Incentive: Attic Insulation R-49 from < R-12 | sq. ft | 3 | 3 | 0
| ETO CPF Incentive: Attic Insulation R-49 from R-12 to R-18 | sq. ft | 2.49 | 2.49 | 0
| ETO CPF Incentive: Attic Insulation R-30 from < R-12 (elec & gas heated manufactured home ) | sq. ft | 1.7 | N/A | N/A
| ETO CPF Incentive: Attic Insulation R-30 from < R-12 (elec heated manufactured home) | sq. ft | 2.13 | 0 | 0
| ETO CPF Incentive: Attic Insulation R-30 from < R-12 (gas heated manufactured home) | sq. ft | 1.74 | 0 | 0
| Note from Kris: Raised metrics here to match our minimums, not ETO CPF 's. Ie. raised attics from R-38 to R-49. |  |  |  |  | We support this as a best practice.
| Qualifications | Categories
| Heating Source | Gas | Electric Zonal | Electric Displacement
| Housing Type | Single-family home (detached) | Manufactured Home | Small Multifamily (<5 units). Side-by-side properties like plexes, townhomes/condos
| Heat Type Displaced | Gas | Electric Zonal | Electric Displacement
| U-Value (Start) | Below .22 | Between .22 and .27 | Between .27 and .30 | Above .30
| U-Value (End) | Below .22 | Between .22 and .27 | Between .27 and .30 | Above .30
| R-Value (Start) | Under R-12 | Between R-12 and R-18 | Between R-18 and R-22 | Between R-22 and R-30 | Above R-49
| R-Value (End) | Under R-12 | Between R-12 and R-18 | Between R-18 and R-22 | Between R-22 and R-30 | Above R-49
| Size of Install | Units | Square Footage

## CPF Incentives Comprehensive (hidden)
code | Measure Name (Note Site Type Where Applicable) | unit | Detached Single-Family & Manufactured Homes | Small Multifamily (SMF) (side-by-side properties, plexes up to 4, condos, townhomes) | Large Multifamily (LMF) (Greater than 4 units & stacked structures) | Notes
HVAC
| ETO CPF Incentive: DHP-displacing elec. Zonal (Single-family, SMF, & LMF) | unit | 1800 | 2000 | 2000
| ETO CPF Incentive: DHP-displacing elec. Manufactured Homes | unit | 3500 | 0 | 0
| ETO CPF Incentive: Ducted HP -displacing elec. Furnace | unit | 4000 | 5000 | 0
| ETO CPF Incentive: Extended capacity heat pump-displacing elec.furnace | unit | 6000 | 6650 | 6650
| ETO CPF Incentive: Extended capacity heat pump-displacing gas | unit | 2000 | 2400 | 2400
| ETO CPF Incentive: 95% AFUE or Greater Gas Furnace | unit | 2900 | 2900 | 0
| ETO CPF Incentive: Heat Pump Water Heater - displacing electric | unit | 240 | 240 | 240
| ETO CPF Incentive: Smart Thermostat | unit | 250 | 250 | 250
| ETO CPF Incentive: Heat Pump Controls | unit | 250 | 250 | 250
WINDOWS
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.28 - 0.30 Double Pane Metal | sq. ft | 6 | 0 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.23 - 0.27 Double Pane Metal | sq. ft | 6.92 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value less than .22 Double Pane Metal | sq. ft | 7.49 | 7.25 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.28 - 0.30 Double Pane Metal | sq. ft | 7.55 | 0 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.23 - 0.27 Double Pane Metal | sq. ft | 8.72 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value Less than .22 Double Pane Metal | sq. ft | 9.75 | 7.25 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.28 - 0.30 Single Pane Any Frame | sq. ft | 9.32 | 0 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value 0.23 - 0.27 Single Pane Any Frame | sq. ft | 10.13 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Elec. U-Value Less than .22 Single Pane Any Frame | sq. ft | 10.65 | 7.25 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.28 - 0.30 Single Pane Any Frame | sq. ft | 13.32 | 0 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value 0.23 - 0.27 Single Pane Any Frame | sq. ft | 14.44 | 6 | 0
| ETO CPF Incentive: Enhanced Windows Gas U-Value Less than Single Pane Any Frame | sq. ft | 15.42 | 7.25 | 0
INSULATION
| ETO CPF Incentive: Wall Insulation R-11 from < R-5 (elec heated home) | sq. ft | 2.32 | 2.3 | 0
| ETO CPF Incentive: Wall Insulation R-11 from < R-5 (gas heated home) | sq. ft | 3.3 | 3.3 | 0
| ETO CPF Incentive: Floor Insulation R-30 or filled from < R-12 (elec heated home) | sq. ft | 1.09 | 1.09 | 0
| ETO CPF Incentive: Floor Insulation R-30 or filled from < R-12 ( gas heated home) | sq. ft | 3.65 | 3.65 | 0
| ETO CPF Incentive: Floor Insulation R-22 from < R-12 ( elec heated manufactured home) | sq. ft | 1.45 | 0 | 0
| ETO CPF Incentive: Floor Insulation R-22 from < R-12 ( gas heated manufactured home) | sq. ft | 1.76 | 0 | 0
| ETO CPF Incentive: Attic Insulation R-49 from < R-12 | sq. ft | 3 | 3 | 0
| ETO CPF Incentive: Attic Insulation R-49 from R-12 to R-18 | sq. ft | 2.49 | 2.49 | 0
| ETO CPF Incentive: Attic Insulation R-30 from < R-12 (elec heated manufactured home) | sq. ft | 2.13 | 0 | 0
| ETO CPF Incentive: Attic Insulation R-30 from < R-12 (gas heated manufactured home) | sq. ft | 1.74 | 0 | 0
Note: Raised metrics here to match our minimums, not ETO CPF 's. Ie. raised attics from R-38 to R-49.
| Qualifications | Categories
| Heating Source | Gas | Electric Zonal | Electric Displacement
| Housing Type | Single-family home (detached) | Small Multifamily (<5 units) | Manufactured Home
| Heat Type Displaced | Gas | Electric Zonal | Electric Displacement
| U-Value (Start) | Below .22 | Between .22 and .27 | Between .27 and .30 | Above .30
| U-Value (End) | Below .22 | Between .22 and .27 | Between .27 and .30 | Above .30
| R-Value (Start) | Under R-12 | Between R-12 and R-18 | Between R-18 and R-22 | Between R-22 and R-30 | Above R-49
| R-Value (End) | Under R-12 | Between R-12 and R-18 | Between R-18 and R-22 | Between R-22 and R-30 | Above R-49
| Size of Install | Units | Square Footage

## CPF and HEAR Combined (hidden)
Energy Improvement | ET Incentive | HEAR Rebate | Total Benefit | Expected Installation Cost | Remaining Cost Expected | Minimum Criteria | Eligibility Nuances | Potential Scope of Work Items | Additional Cost Range
Ductless Heat Pump (Zonal Heat) | 2900 | 2500 | 5400 | $4,500 - $6,000 | $0 - $600 | Must have HSPF2 of 8.55 or greater, replace electric zonal heat | Only one indoor head allowed, must be in primary living area | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
Ductless Heat Pump (Forced Air Furnace) | 3500 | 2500 | 6000 | $4,500 - $6,000 | $0 - $1,500 | Must have HSPF2 of 8.55 or greater, replace electric forced air furnace | Only one indoor head allowed, must be in primary living area | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
Ductless Heat Pump (Small Multifamily) | 1850 | 1500 | 3350 | $4,000 - $5,000 | $650 - $1,650 | Must have HSPF2 of 8.55 or greater, replace electric forced air furnace or zonal heat | Indoor head must be in primary living area | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
No-Cost Ductless Heat Pump | Variable | 2500 | Variable | $4,500 - $6,000 | Variable | Must have HSPF2 of 8.55 or greater, up to two indoor heads, income qualified | Pre-approval required, incentive amount pre-approved | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
Ducted Heat Pump | 4000 | 3000 | 7000 | $5,000 - $7,500 | $0 - $500 | HSPF2 of 7.50 or greater, replace electric forced air furnace | Cannot be combined with heat pump controls or smart thermostat incentives | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
No-Cost Ducted Heat Pump | Variable | 3000 | Variable | $5,000 - $7,500 | Variable | HSPF2 of 7.50 or greater, replace electric forced air furnace, income qualified | Pre-approval required, incentive amount pre-approved | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
Extended Capacity Heat Pump | 2000 | 1500 | 3500 | $7,000 - $12,000 | $3,500 - $8,500 | Not required to replace electric heat, must be primary heating source | Must be 1:1 central ducted system, no backup gas heating system | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
Extended Capacity Heat Pump (Forced Air) | 6000 | 4000 | 10000 | $7,000 - $12,000 | $0 - $2,000 | Replace electric forced air furnace, must be primary heating source | Must be central ducted system, no backup gas heating system | Electrical upgrades, asbestos removal, ductwork repair/replacement | $1,000 - $3,000
New & Existing Heat Pump Controls | 250 | 150 | 400 | $200 - $300 | $0 - $100 | Must be added to a new or existing heat pump with electric furnace auxiliary heat | Thermostat must be set to 35°F lockout or as close as possible, visit. Energy Trust for eligible models | Electrical upgrades, asbestos removal | $500 - $1,000
High Efficiency Gas Furnace | 1600 | 1000 | 2600 | $3,000 - $5,000 | $400 - $2,400 | 95% AFUE or greater, income qualified | Not eligible if used as backup for high-efficiency heat pumps (hybrid systems) | Chimney lining, electrical upgrades, asbestos removal | $1,500 - $3,000
Smart Thermostat | 250 | 150 | 400 | $200 - $300 | $0 - $100 | Must be connected to Wi-Fi, visit Energy Trust for eligible models | Cannot be combined with advanced controls incentives or ducted heat pump incentive | Electrical upgrades, Wi-Fi setup | $500 - $1,000
Heat Pump Water Heater | 240 | 1200 | 1440 | $1,200 - $2,500 | $0 - $1,060 | Eligible models must meet NEEA’s Advanced Water Heater Specification Tier 3 | Midstream incentive available through retailers and distributors | Electrical upgrades, plumbing upgrades, asbestos removal | $1,000 - $2,500
No-Cost Heat Pump Water Heater | Variable | 1200 | Variable | $1,200 - $2,500 | Variable | Must replace electric tank water heater, income qualified | Pre-approval required, incentive amount pre-approved | Electrical upgrades, plumbing upgrades, asbestos removal | $1,000 - $2,500
Attic Insulation - R0-R11 | $3.00/sq ft | $1.50/sq ft | $4.50/sq ft | $1,500 - $5,000 | $0 - $500 | If R-11 or less, insulate to R-38 | All heated attic surfaces must be insulated | Roof repairs, electrical upgrades, asbestos removal | $1,000 - $3,000
Attic Insulation - R12-R18 | $2.49/sq ft | $1.50/sq ft | $3.99/sq ft | $1,500 - $5,000 | $0 - $750 | If R-18 or less, insulate to R-38 | All heated attic surfaces must be insulated | Roof repairs, electrical upgrades, asbestos removal | $1,000 - $3,000
Wall / Rim Joist / Knee Wall Insulation (Electricity) | $2.32/sq ft | $1.50/sq ft | $3.82/sq ft | $1,500 - $5,000 | $0 - $670 | Walls, if R-4 or less, insulate to R-11 or fill cavity, not eligible for manufactured homes | Rim joists and knee walls have specific insulation requirements | Wall repairs, electrical upgrades, asbestos removal | $1,500 - $3,000
Wall / Rim Joist / Knee Wall Insulation (Gas) | $3.30/sq ft | $1.50/sq ft | $4.80/sq ft | $1,500 - $5,000 | $0 - $1,200 | Walls, if R-4 or less, insulate to R-11 or fill cavity, not eligible for manufactured homes | Rim joists and knee walls have specific insulation requirements | Wall repairs, electrical upgrades, asbestos removal | $1,500 - $3,000
Floor Insulation (Electricity) | $1.09/sq ft | $1.50/sq ft | $2.59/sq ft | $1,500 - $5,000 | $0 - $1,955 | If R-11 or less, insulate to R-30 or fill cavity | All heated floor surfaces must be insulated | Floor repairs, electrical upgrades, asbestos removal | $1,000 - $2,500
Floor Insulation (Gas) | $3.65/sq ft | $1.50/sq ft | $5.15/sq ft | $1,500 - $5,000 | $0 - $1,925 | If R-11 or less, insulate to R-30 or fill cavity | All heated floor surfaces must be insulated | Floor repairs, electrical upgrades, asbestos removal | $1,000 - $2,500
Windows (U-Value ≤ 0.22) | $1.50/sq ft | $1.00/sq ft | $2.50/sq ft | $7,000 - $14,000 | $4,250 - $11,500 | Must replace single-pane or metal-framed double-pane, U-factor ≤ 0.22 | Different U-value thresholds for various window types | Window frame repairs, lead paint removal, mold remediation | $2,000 - $5,000
Windows (U-Value 0.23 - 0.27) | $1.00/sq ft | $1.00/sq ft | $2.00/sq ft | $7,000 - $14,000 | $5,000 - $12,000 | Must replace single-pane or metal-framed double-pane, U-factor 0.23 - 0.27 | Different U-value thresholds for various window types | Window frame repairs, lead paint removal, mold remediation | $2,000 - $5,000

## Measure Requirements
Requirements for All Energy Trust Incentives:
FALSE | Primary heating source of the site must be provided by one of the following utilities: Pacific Power, Portland General Electric, Avista, Cascade Natural Gas, NW Natural
FALSE | Measure must be installed in a single family site-built, manufactured, or attached residential (duplex, triplex, side-by-side, rowhome) site.
FALSE | Gas-heated homes may not receive Energy Trust incentive for electric HVAC (exception for ECHP)
Measure-Specific Requirements:
Ductless Heat Pump
FALSE | Must replace electric zonal heat (baseboards, wall cadets, etc.) as primary heating source
FALSE | Must be installed in main living space
FALSE | Must be a system at HSPF2 8.10 or greater
Ducted Heat Pump
FALSE | Must replace electric forced air furnace as residence’s primary heating system
FALSE | HSPF2 of 7.50 or greater required
FALSE | Cannot be combined with any other heat pump, heat pump controls, or smart thermostat incentives
Extended Capacity Heat Pump (not replacing eFAF)
FALSE | Unit must meet CEE Tier 1 Path A criteria. This guide may be referenced for confirming qualification.
FALSE | Cannot replace electric furnace (use ducted HP incentive for that)
FALSE | ECHP installed cannot have a backup gas heating system (gas system must be removed from residence if replacing gas heat)
FALSE | Indoor configuration: Eligible systems configurations must include a central ducted system serving the primary living space of the home
FALSE | Controls must be set with an auxiliary heat lockout setting when available
High Efficiency Gas Furnace
FALSE | Unit installed must have 95% annual fuel utilization efficiency (AFUE) or greater
FALSE | Gas furnaces used as backups for high-efficiency heat pumps, also known as hybrid systems, are not eligible
Smart Thermostat Direct Install
FALSE | Eligible models may be found at www.energytrust.org/thermostat
FALSE | Only eligible in gas-heated homes (gas as primary)
Heat Pump Water Heater
FALSE | Eligible models must meet Northwest Energy Efficiency Alliance’s (NEEA’s) Advanced Water Heater Specification Tier 3 to qualify.
FALSE | Must replace electric storage tank water heater; tank may be any size
Windows
FALSE | Must replace existing single pane or metal frame window, glass door, or skylight
FALSE | Newly installed window must have a U-Value of 0.30 or less
Attic Insulation Replacing R0-11
FALSE | Existing insulation must be R11 or less
FALSE | Must insulate to R38 or greater, or fill cavity
Attic Insulation Replacing R12-18
FALSE | Existing insulation must be R12 - R18
FALSE | Must insulate to R38 or greater, or fill cavity
Wall Insulation
FALSE | Existing wall, rim joist, and knee wall insulation must be R4 or less
FALSE | Wall insulation incentives are not available for manufactured homes
FALSE | Exterior walls must be insulated to R11 or greater, or fill cavity
FALSE | All heated exterior wall surfaces must be insulated
FALSE | Rim joists must be insulated to R-15 or greater, or fill cavity
FALSE | Knee walls must be insulated to R-15 or greater for 2x4 cavities or R21 or greater for 2x6 cavities
FALSE | Attic insulation must be R19 or greater in order for knee wall insulation to be eligible for an incentive
Floor Insulation
FALSE | Existing insulation must be R11 or less
FALSE | For single family and small multifamily: must insulate to R30 or greater, or fill cavity
FALSE | For manufactured housing: must insulate to R22 or greater, or fill cavity
Last Updated: 6-March-2026